###### GREEN PHOENIX

## INTEGRATED DESIGN CHARRETTE REPORT

_______________________________________________________

DRAFT

Parkdale United Church Foundation

Parkdale Liberty Economic Development Corporation

Phoenix Place

January 27-29, 2005

Acknowledgements

____________________________________________________________

Partners

The partners who contributed to the development and organization of this event, include:

        - Canadian Mortgage and Housing Corporation (CMHC)

        - City of Toronto (Energy Efficiency Office)

        - Sustainable Buildings Canada

        - Natural Resources Canada (NRCan)

        - Parkdale United Church Foundation (PUCF)

        - Parkdale/Liberty Economic Development Corporation (PLEDC)

Team Facilitators

The following ably facilitated the three design teams that worked together during the charrette:

        - Thea Browne and Deborah Wadsworth, Larkin Architect (Blue Team)

        - Diana Hamilton, G & G Partnership Architects (Red Team)

        - Doug Pollard, CMHC (Yellow Team)

Presenters

The following people made very helpful presentations at different stages during the charrette:

        - Marlene Amonsen, Minister, Parkdale United Church, who opened the charrette and set the context

        - Adam Czerechowicz, PUCF and Jennifer Penney, PLEDC, who described the history and goals of the Green Phoenix Project

        - Thea Browne, Larkin Architect, who gave an introduction to the Integrated Design Process

        - Brian Fountain, Energy Advantage Incorporated, who provided an overview on energy modelling

        - Heather Inglis-Baron, City of Toronto Planning Department, who answered questions relating to planning issues for the project

Funders

The following organizations generously provided the funding support that made the charrette possible:

- Canadian Mortgage and Housing Corporation

- Natural Resources Canada (NRCan)

- City of Toronto (Energy Efficiency Office)

- Enbridge Gas Distribution

- Human Resources and Skills Development Canada

- Canadian Geoexchange Coalition

Notetakers and Volunteers

The following people served as notetakers for the design teams, and helped with logistics:

- Diane Beckford

- Adriana Dossena

- Andrew Masuda

- Nancy Quinlan

- Thuy Pham

Authors of this Report

Tom Ponessa, Sustainable Buildings Canada

Jennifer Penney, Parkdale/Liberty Economic Development Corporation

The Blue Team at work on their presentation

# 1.0 	 INTRODUCTION

On January 27-29, 2005, Parkdale Liberty Economic Development Corporation (PLEDC) organized and held a 2½ day Design Charrette for a sustainable, affordable housing project. The Canadian Mortgage and Housing Corporation (CMHC), the City of Toronto’s Energy Efficiency Office, Natural Resources Canada and Sustainable Buildings Canada (SBC) provided organizational assistance for the charrette.  CMHC, the City of Toronto, Enbridge Gas Distribution and Natural Resources Canada provided financial assistance.  Human Resources and Skills Development Canada supported the wages of PLEDC staff who managed logistics for the charrette.

The goal of the charrette was to produce designs to add 20-21 new, green, affordable rental units to a site that already supports two existing buildings, at the corner of King Street and Dunn Avenue in the west end of Toronto. The largest building on the site is Phoenix Place, which provides bachelor apartments for low-income people. The building also houses the sanctuary for the Parkdale United Church, as well as church offices and facilities. Shalom House, next door to Phoenix Place, is a century-old house that was purchased by the church in the 1970’s, serves as office and meeting space for community and faith-based organizations and houses a food bank.

The Charrette attracted more than 40 participants, including architects, engineers, planners, housing workers, building operators, community and church representatives and a variety of green technology specialists.

This Design Charrette was organized as the first stage of an “integrated design process” (IDP) to create more environmentally friendly and energy efficient designs for the new apartments. In the integrated design process, a team of building professionals collaborate in the initial design stages, rather than working in isolation. This challenges them to consider new strategies, systems and products that more appropriately support a sustainable design scheme. An integrated team formed early at the concept stage, can maximize the potential benefits.  This is when concepts can change easily as new ideas are considered.

An integrated team includes members with diverse expertise and experience to inform the process including property managers, energy simulators, costing experts, energy efficiency experts, envelope specialists, municipal engineers and planners and alternative energy specialists and building owners and residents. These team members work together to achieve a higher performance, value-added building. This multi-disciplinary relationship should continue throughout the design and construction phases

# 1.1  	The Green Phoenix Project

The Green Phoenix project is a partnership of two organizations, the Parkdale United Church Foundation and the Parkdale Liberty Economic Development Corporation. Representatives of these two organizations, as well as other affordable housing and service providers, building development professionals, and community residents have worked together for almost two years to create new, green affordable housing in the Parkdale area of Toronto.

The Green Phoenix project has four main goals:

- a. 	To provide 20 or more new affordable apartments to serve low income people in the Parkdale area of Toronto. The project will become a part of Phoenix Place, which already provides 136 low-cost bachelor apartments in Parkdale. We expect that the new apartments will be provided by retrofitting Shalom House, an old mansion that currently houses the offices of several community organizations, and by new construction on the site.

- b. 	To create an environmental showcase, aiming to achieve the LEED Gold Standard for the new construction, to do the retrofit work using the LEED-Existing Building guidelines, and integrate wherever possible energy efficiency and other environmental improvements to the existing 11 story apartment building on the site.

- c. 	To demonstrate that green building is not an unrealistic luxury for those planning and developing affordable housing for low-income people, but can be achieved for costs similar to those paid for conventional construction, and can result in lower operating costs that help to keep the housing more affordable over the long run.

- d. 	To incorporate community members and potential tenants in some aspects of the project construction.

1.2  	The Proponent Organizations

Parkdale United Church Foundation (PUCF)

- The Foundation is a charity whose voting membership is the congregation of Parkdale United Church. In the 1970’s, the church adopted a housing mission to serve working people with low incomes, deconstructed the historic church that stood on the property, and built the apartment building called Phoenix Place on the site.  PUCF also purchased the large house to the east of the Church, and rented space in the house to community and faith-based organizations. This house became known as Shalom House. The Foundation owns all the property occupied by Phoenix Place, the church and Shalom House. PUCF manages both Phoenix Place and Shalom House, and provides various services to residents, including social programs, food donations, hot meals, counselling and referral services. PUCF will own and operate the housing developed as part of the Green Phoenix project.

Parkdale Liberty Economic Development Corporation (PLEDC)

- PLEDC is a non-profit community organization that has worked on many local economic development projects designed to improve the economy of Parkdale and to integrate low-income residents into that economy.  Recently, PLEDC has added environmental sustainability to its criteria for new projects.  PLEDC considers good housing essential to a strong and sustainable community, and two years ago set out to develop a new, green affordable housing project in the community, secured pre-development grants from the City of Toronto and from CMHC. When the two organizations decided to collaborate on Green Phoenix, these funds were used to develop the initial plans for Green Phoenix. PLEDC is providing organizational support for Green Phoenix, has helped to secure funding, and is heavily involved in community consultations and design of the project.

# 1.3 	Neighbourhood Context

Parkdale is a vibrant, diverse area with a large percentage of new immigrants. Tenants make up 95% of the residents in South Parkdale. Many of these tenants have low incomes, and the neighbourhood has a reputation in the city as an area of crime, drugs and prostitution. In fact, the area is in transition and even showing signs of gentrification. It has a strong identity, a thriving arts and culture scene and a healthy population of young families. There are many community organizations active in Parkdale, and many services for immigrants and low-income residents.

Queen Street – two blocks to the north of Phoenix Place – serves as the retail spine of the community, with a very eclectic mix of commercial services. (See map on the following page.) The area of Queen just to the east of Dufferin is the new arts strip of the city. Liberty Village, a new media hub and developing neighbourhood has grown up south of King and east of Dufferin. Exhibition Place is to the south-east and Lake Ontario to the south.

Dunn Street south of King has a large rehabilitation hospital and nursing home on the west side of the street, and old mansions on the east that are divided up into apartments. The area is well served by public transit. East-west streetcar lines run along King and Queen Streets, and buses run north and south along Dufferin Street and Lansdowne Avenue.

# 1.4   Description of the Buildings

The property is situated on the south-east corner of King and Dunn streets in Toronto’s Parkdale neighbourhood and contains two buildings: Phoenix Place, an 11-storey apartment tower from the 1970s (on the corner) and Shalom House, a few meters east of the tower, facing north onto King Street. (See site plan and photos on the next pages.)

The tower is comprised of 136 bachelor apartments on floors 2-11, a sanctuary and administrative offices on the ground floor, and a community hall and mechanical rooms in the basement. A relatively new boiler system heats the building’s water and electric baseboard heaters serve the units. A laundry room on the 11th floor serves the building. The tower’s long axis runs south from King along Dunn and units face either east or west.

Shalom House is used as program space with services for the community, though it lacks wheelchair accessibility.  The house has a poorly constructed addition on the back.

The rear of the property is mostly dedicated to parking with access for garbage pick-up behind the tower and a small garden behind the house.

1.4.1 	Site Plan for Existing Buildings

1.4.2 	Photos of Existing Buildings

| Corner of King and Dunn | Phoenix Place south face |
| --- | --- |

| Shalom House west face | Shalom House southwest face |
| --- | --- |

# 1.5  	Phoenix Place Residents

Phoenix Place has always housed a significant number of people whose housing options are limited by disability, low income, immigration status, or personal crisis.  Many residents are referred to Phoenix Place from shelters, from organizations working with refugees or people with mental health problems and from other community agencies. Phoenix Place’s policy is to give priority to persons with the most need.

- Besides providing an attractive and well-managed building, Phoenix Place offers residents housing stability while they acquire new skills, or more effectively manage and improve their lives. Stability of housing is a result of several policies put in place by the Board and practised by management.

- One measure of success for the Phoenix Place Apartments can be seen today in its large waiting list of more than 430 applicants – even though there are no rent-geared-to- income subsidies. Apartment rents at Phoenix Place are $100 or more per month below market, and turnover is low at about 10% per year.

2.0   ORGANIZING THE CHARRETTE

2.1	Lead-up to and Planning for the Charrette

From very early on, the Green Phoenix Committee had desired to use an Integrated Design Process for the project, and to kick this off with a Design Charrette. However, we spent several months trying to secure an adjacent property for our project, and did not want to have the charrette before we were certain about how much land we would have on which to build. When it became clear that we would not be able to purchase the property, we were faced with a funding deadline that required us to produce massing plans for our project in a very short time frame. As a result, we actually had a set of architectural plans prior to organizing the charrette, which had been submitted to the potential funder – the Supporting Communities Partnership Initiative.  (See Appendix B.)

There were a number of very nice features to these plans.  One was that they covered up the parking lot at the south end of the site. They also provided a two-tiered green roof garden and amenity space for building residents. The plans provided for the installation of solar thermal panels on the south façade of Phoenix Place, to preheat water both for the existing building and for the new construction.  However, there were a number of problems with the plans that we thought a charrette might help us address.

We approached CMHC for information about planning a design charrette and discovered that funding was available for the event. CMHC staff helped us quickly organize a charrette planning team, secured the participation of NRCan and the City of Toronto’s Energy Efficiency Office and we planned the event in less than eight weeks.

Charrette planning included intensive work on the following:

- Choosing dates and a place for the event. Although CMHC staff pressed us to hold a 3-4 day event, we feared that we could not secure the participation of a wide range of building professionals for that length of time, nor could our committee members – almost all volunteers – take that many days off work. So we settled for a 2½-day event, starting on Thursday evening January 27, and then all day Friday the 28th and Saturday the 29th. We decided to hold the event in Phoenix Place itself, to maximize the familiarity of participants with the site.

- Developing an agenda for the event including consideration of how to involve members of the community. (We decided to issue an invitation to community members to attend the design team presentations on Saturday afternoon.)

- Preparing a budget for the event and seeking a small amount of funding in addition to that supplied by CMHC to cover the costs.

- Making arrangements for energy modelling at the charrette, with the support of Natural Resources Canada, Enbridge and Sustainable Buildings Canada.

- Inviting participants to the event. We used the CMHC charrette guideline to identify the kinds of professionals that we needed to have at the charrette, and then used a number of different ways to find individuals who we wished to attend the event, and invited them to participate. We drew on suggestions from Green Phoenix committee members, as well as building design experts who had led workshops at the PLEDC Green Affordable Housing Conference in 2004 and others we had met at charrettes and other events organized by Sustainable Buildings Canada.

- Organizing design teams that included architects, engineers, sustainable development planners, community and church representatives, the Phoenix Place building manager, representatives of companies that provide green building products and services, affordable housing providers, city planning staff, and others.

- Arranging for skilled facilitators for the design teams.

- Developing a package of background materials for the participants.

- Arranging for charrette supplies, food, note-takers, etc.

2.2 	Goals (and Challenges) for the Charrette

- The following goals and challenges were outlined and provided to the charrette participants prior to the event:

- a. 	The Economic Goals and Challenges

i)		Keep the construction costs of this project within the $2.4 million budget proposed to SCPI. This is important for keeping the rents down and the housing affordable.

- ii)	Reduce the operating costs for the existing buildings on site (Phoenix Place and Shalom House).

- b. 	The Environmental Goals and Challenges

- i)		Aim for the LEED Gold Standard in environmental design with the new construction portion of this project (though we are uncertain about whether to go for certification or not). This means achieving 39 –51 points out of a possible 69 points on the LEED project checklist.  (See Appendix C.)

- ii)	Renovate Shalom House, the three-storey building on site, to include 6-7 apartments and to meet the requirements of LEED certification for Existing Buildings. This means achieving 32-39 points out of a possible 80 on the LEED-EB checklist.  (See Appendix D.)

- iii)	Develop this project in a way that provides opportunities to reduce the environmental footprint of the existing 11-storey building.  This building is heated with electric baseboards, as were many affordable and co-op housing projects built in the 1970's, and the cost of electricity is climbing, putting pressure on operating costs. The building also has a brick south facade and the apartments on the west side suffer from blistering heat in the summer sun.

- iv)	Explore the possibility of becoming an energy generator in this work.

- v)	Design the project so as to be able to add future environmental features such as photovoltaic power when such features become more efficient and less costly.

- c. 	The Planning Challenges

i) 	Toronto’s Official Plan has designated the area in which the housing is to be built for residential uses consisting of dwelling units, from the scale of single-family homes through to apartment buildings.  The existing project exceeds the density allowances for the area.  The Planning Department has also told the project proponents that new construction should be grade-related.

- ii) 	Garbage and waste handling: The existing building has its garbage room on the ground floor of the south east corner of the building, which is fed by a garbage chute to a compactor in the garbage room.  The garbage truck must now drive in through the parking lot, pick up the garbage and recycling containers at the far end of the parking lot, and back out onto Dunn Avenue.   (See photo below.)  The initial design – to build above the parking lot – is affected by the need to make room for the large City garbage trucks, both for turning and for overhead clearances. Are there other innovative and practical ways the project can deal with garbage and recycling?

- iii) 	Parking: While the current parking lot is not fully utilized by the current building residents and staff, the Planning Department is leery of a project which might reduce parking on site.

- Entrance to the Phoenix Place parking lot

- d.  	The Construction Goals and Challenges

- i) 	Construct this project with minimal disruption to the current Phoenix Place residents.

- ii) 	Explore the possibility of including geo-thermal energy in the project.

- e. 	The Community and Social Issues

- i) 	Space for community use: The initial project plan calls for renovating Shalom House from its current use as office and meeting space for community organizations to mostly residential use. How can the project balance the need to build more housing with the need for community gathering and activity space?

- ii) 	Green space: We would like to add green space to the community in this project through green roofs or other features.

- iii) 	We wish to incorporate community members and potential tenants in construction of the project and would like this to be kept in mind in designing the project.

- 2.3  	Background Materials

- Charrette participants were provided with the following background materials:

- History and goals of the project

- Challenges of the site

- LEED checklists

- Energy use data on the existing buildings for the last three years

- Zoning map of the area

- Site map and statistics (provided by Steve Hilditch of Hilditch Architect)

- Photos of the site and the surrounding community (taken by Deborah Wadsworth and reproduced courtesy of Larkin Architects)

- Agenda

- Design team lists

- List of participants

- 2.4 	 Agenda for the Charrette

- The charrette was organized so that the opening plenary for the event – which introduced participants to each other, to the site and to the project – would occur in the evening before the work of the design teams started.  This gave participants time to see the site, ask questions about the project, and then have some evening time to mull over the goals and challenges of the project, and review the written materials before starting into work.

Thursday Evening January 27, 2005

5:00 – 6:00 p.m.	Tours of site and buildings

Registration and kit collection

6:00 p.m.		Introduction of participants over light meal

6:40 p.m.		Welcome (Marlene Amonsen, Parkdale United Church Minister)

6:45 p.m.	Introduction to the Green Phoenix project and the site, and some of the constraints on the project (Jennifer Penney, PLEDC and Adam Czerechowicz, Phoenix Place building manager)

7:00 p.m. 	Presentation on the Integrated Design Process and the role of the Design Charrette (Thea Browne, Larkin Architects)

Presentation and discussion of the goals of this charrette

8:00 p.m.	Discussion of participants’ initial impressions of the area and buildings

8:20 p.m. 	Introduce charrette schedule, teams, tasks and performance goals

Friday January 28, 2005

8:00 – 9:00 a.m.	Tours of site and buildings

9:00 a.m.		Brief plenary with Area Planner (Heather Inglis-Baron) and to

address questions about schedule and team tasks

9:15 a.m.		Teams start work

12:30 p.m. 	Lunch (in common space, where teams can mingle and discuss what they are doing)

Brief plenary presentation by Energy Modeller (Brian Fountain)

1:30 p.m. 	Teams resume work

4:00 p.m.	Teams circulate through each others’ spaces, to see and discuss what each team is developing

5:00 p.m. 	Adjourn

Saturday January 29, 2005

9:00 a.m. 	Plenary discussion of observations and thoughts of participants after yesterday’s session

9:30 a.m.	Teams resume work

12:30 p.m.	Lunch

1:00 p.m.	Resume teamwork (drawings and preparation of detailed presentations)

3:30 p.m.	Plenary presentation and discussion of team designs (open to community members to see and comment on the designs)

4:30 p.m. 	Discussion of unresolved issues and suggestions of participants about how to resolve them

500 p.m.	Wine and cheese reception (on site)

- The charrette followed the proposed agenda in most respects, except at the end of the day on both Friday and Saturday, when the team presentations were somewhat delayed.

- 2.5  	Design Teams

- Three design teams were established. Doug Pollard of CMHC led the Yellow Team, Diana Hamilton of G & G Partnership Architects led the Red Team, and Thea Browne and Deborah Wadsworth of Larkin Architect co-facilitated the Blue Team. Because the facilitators were all experienced in leading charrettes, we gave them very little specific direction and each team took a somewhat different approach to discussing the project and developing a design.

- The teams were planned to include two or three architects (including the facilitators), sustainable design consultants, mechanical engineers, landscape designers, City of Toronto planners, staff from community organizations that provide services for low-income people and psychiatric survivors and representatives from PUCF and PLEDC. A number of people with very specialized knowledge also participated, including a geothermal engineer, a green roofs specialist, an expert in waste reduction, a water engineer, an insulating glass specialist and a representative of Habitat for Humanity.

- Structural engineers, construction contractors and staff from the City of Toronto’s Works and Emergency Services were invited to the event, but did not attend.

- Almost all the charrette participants were included on a design team, even though many had unique skills or knowledge, because we wanted to make sure they were fully integrated in the event. Each design team was encouraged to ask specialized participants on other teams to come and speak to their team or to comment on specific plans.  (This didn’t work as well as we had hoped.)

- The members of each design team are listed in a chart on the following page.

The Red Team

| Yellow Team Management Office | Red Team Church Hall | Blue Team Sanctuary |
| --- | --- | --- |
| Doug Pollard, CMHC, Facilitator | Diana Hamilton, G& G Partnership Architects, Facilitator | Thea Browne, Larkin Architects, Co-facilitator |
| Steve Hilditch, Hilditch Architect | Tom Ponessa, Sustainable Buildings Canada | Deborah Wadsworth, Larkin Architects, Co-facilitator |
| Trevor McIvor, Altius Design Studio | Graham Smith, Altius Design Studio | Sandra Marshall, CMHC |
| Bob Sawatsky, Renova Consulting | Mark Salerno, CMHC | Ed Lowans, Keen Engineering |
| Jamie Smith, MCW Consultants | Greg Allen, Sustainable Edge | Nestor Uhera, Energy Efficiency Office |
| Neil Speigel, Atlas Consulting | David Elliott, PUCF | Allan Busch, PUCF |
| Bruce Strathearn, NRCAN | Ian Sinclair, Keen Engineering | Jian Lei, City of Toronto, Water |
| Paul Leitch, Solarco | Catherine Soroczan, CMHC | Michael Holm, Solarco |
| Brad Peterson, Landscape Architect | David Stonehouse, Evergreen Foundation | Kaaren Pearce, Elevated Landscape Technologies |
| Neil Spiegel, Atlas Consulting | Jane Welsh, City of Toronto Planning Department | Derral Orr, Lessaway Moir & Geoexchange Canada |
| Terry Petkau, Habitat for Humanity | Victor Willis, Parkdale Activity and Recreation Centre | Shawn Conway, St. Christopher House |
| Robb Watson, Sunlite Glass | Sarah Brierly, Evergreen Foundation |  |
| Jennifer Penney, PLEDC |  | Rod Layman, PLEDC |
| Nancy Quinlan, PLEDC, Notetaker | Andrew Masuda, PLEDC, Notetaker | Adriana Dossena, Clean Air Partnership, Notetaker |

Floating:

Adam Czerechowicz, Phoenix Place Building Manager

Thuy Pham, Logistics Coordinator

Brian Fountain, Greensim, Energy Modelling

3.0  	DESIGN TEAM DISCUSSIONS AND RESULTS

3.1  	Yellow Team

3.1.1  	Approach to Integrated Design Process

The Yellow Team facilitator, Doug Pollard, suggested a fairly simple approach to the design process.  He suggested the team begin by considerations of the whole site during Friday morning, move to discussion of alternate building forms in the afternoon, and then get down to specific recommendations on Saturday.  This report follows the organization of these discussions.

The team benefited from the presence of the project’s architect, who was very familiar with the existing buildings and the zoning issues.

The team did not refer to the LEED guidelines in its considerations, nor did it make much use of the energy modeller provided to the charrette.

3.1.2  	Site and Community Considerations

The team agreed that Phoenix Place does little to engage the street or contribute visually to the neighbourhood. The project should address these issues.  Some of the considerations that flowed from that discussion included the following:

- An attractive addition on the King St. side (rather than to the south of the building) would link the building better with the community both physically and aesthetically, and contribute to the vibrancy of the neighbourhood. This meets the intent of the new Official Plan by intensifying use on a major corridor (King) and would provide ground floor commercial or other services accessed from the street.

- Ground floor suites could provide services or amenities that already exist at Shalom House and in Phoenix Place, such as a lounge linked to a laundry area.  Later, commercial services such as a café and laundromat might be developed to employ building residents and provide services both to residents and the neighbourhood.

- A sustainable building should be built in the context of a sustainable site, and should include planning for zero run-off, capturing stormwater, and possibly collecting greywater for reuse.

- Sunny spaces of the site should be used for gardens and greenhouses, possibly entrepreneurial production of food.

3.1.3  	Energy

The team considered a number of passive and active energy opportunities for the building.

- Building on the King St. side of Phoenix Place would improve insulation and better protect the northwest exposed slab edges from prevailing winds.

- There exists significant solar potential on the south side of Phoenix Place for solar thermal and a solar wall application for water and space heating costs.

- The team also discussed the potential for using photovoltaic cells, roof-mounted wind energy systems, and stationary hydrogen fuel cells.  However, these were not regarded as cost effective options.

- There was strong support on the team for radiant heating, possibly connected to a geothermal heating system.  With the help of Derral Orr, the group discussed geo-thermal options.

      - Option 1:  Tap into an underground aquifer, circulating water from the aquifer through a heat pump, and reinject it into the aquifer.  Since the underground water maintains a constant temperature it can serve as a source of heat in winter and cool in summer.  Considerations of this option include:

        - The need to filter sand out of the water;

        - The problem that reinjecting water into an aquifer requires more area than that from which the water is initially drawn;

        - The requirement for an environmental assessment;

        - Needs only three wells for suction and reinjection;

        - No heat Phoenix Place plus new construction would require an estimated 100 tons of heating and cooling (at 3 gallons per ton, requires moving 300 gallons of water per minute).

      - Option 2:  A closed loop system using a circulating methanol solution in tubes in the ground.  Considerations included:

        - Need for multiple boreholes, typically to about 200 feet.  The constant ground heat (13-15(C) is transferred to the methanol solution and into the building;

        - 100 tons requires 100 bore holes (possible on this site);

        - More than $100,000 up front for the field;

        - Phoenix Place pays $30,000 for energy now.

The coefficient of performance depends on the temperature of the ground. This system can combine with a solar heating system and a high efficiency, condensing boiler for peak requirements. This technology is being considered for Regent Park, and has been done for the High Park Lofts project on Roncesvalles.

3.14  	Waste, Waste Reduction and Recycling

A number of waste issues were discussed with respect to the project, including:

- The problem of garbage truck access to the southeast corner of the building.  Garbage trucks currently enter off Dunn Street, cross the parking lot to the southeast corner of the building, and require a large amount of turning space. This situation severely limits options for changing the south side of the building, changes to the parking lot, installation of gardens, etc. Options considered included a compactor, removal of the garbage room to the southwest corner of the building to limit the distance that the garbage truck has to travel across the south end of the site.

- The team also discussed ways to manage domestic waste on site, including enhanced sorting and separation by tenants, composting organics on site, and the possibility of collecting valuable recyclables from the neighbourhood and using the income to purchase a truck and opt out of the city’s waste collection system.

- Deconstruction and reuse or recycling of parts of Shalom House could achieve a possible 95% diversion of waste by weight.

- Pay more up front for durable new materials for longer life cycle and lower maintenance.

- Reuse high-grade salvaged materials, eg Habitat for Humanity’s ReStore or kitchens installed recently in Regent Park (to be demolished); potential $3000 saving per kitchen.

- Design new construction to standard sizes to reduce waste.

3.1.5  	Transportation and Parking Issues

The site is well served by public transportation.  Six existing parking spaces are surplus to the current needs of the site, and if they were eliminated, could reduce the amount of the site used for parking and provide more flexibility in the planning of gardens and green space for the south side of the site.  However, the Planning department might not look favourably on reducing parking while adding tenants to the site.  Other transportation considerations included:

- New residents will be drawn from the homeless or people at risk of homelessness and will be unlikely to own a car;

- The existing asphalt parking lot produces significant stormwater run-off.  This could be managed by reducing the size of the lot and by using permeable paving;

- Reducing the size of the lot would also allow expanded green space on the south side of the property and reduce the visual blight of the existing lot;

- The site needs accessible and secure bicycle storage.

3.1.6  	Use of Community Volunteers, Trainees or Residents in Demolition or Construction

The project architect and a Habitat for Humanity representative had experience with using construction trainees and volunteers in housing projects, and so this discussion was quite practical.  Some of the positive aspects of this include:

- Strengthening the support of participating community members for the project;

- Increasing the commitment and enthusiasm of future residents;

- Possible reduction in costs.

Some of the negative aspects of this could include:

- Safety and insurance issues;

- Time and effort required for managing volunteers;

- Increased construction time.

3.1.7  	Financial Considerations

One team member urged the project proponents to consider applying for funding from the Federation of Canadian Municipalities’ Green Municipal Funds, which are available to run pilots for new approaches to green construction that aren’t sufficiently proved and/or are more expensive than conventional construction.

3.1.8	Building Form Alternatives

Starting on Friday after lunch, the team discussed building form alternatives.  Seven options were discussed.

1.  Taking Down Shalom House and Rebuilding

Shalom House has a footprint of 1700 square feet, with space for six to seven apartments, including some one- and two-bedroom units.

Advantages:

- Could get nine to ten units of grade-related construction on the same footprint;

- A better design for accommodating apartments would be possible;

- Could achieve better energy efficiencies than a renovation;

- May be less expensive than renovating.

Disadvantages:

- Loss of the façade of an attractive historic building;

- Loss of embodied energy and materials in the existing building;

- New construction would be subject to additional setback and overlook constraints (especially windows on the east side of Shalom House) that wouldn’t apply to a renovation project.

2.	Renovating Shalom House

Renovating would retain the historic façade, embodied energy and materials and avoid the setback and overlook constraints that would apply to new construction.  The third floor of the house could be extended over the existing south-facing addition to the building, to expand the housing available on this floor.

3.	Reconstructing and Adding Units to the South Side of Shalom House

In the 1980s, a poorly constructed unattractive addition was built on the south end of Shalom House. Problems include cracks and leaks.

Removing and rebuilding this addition could be a good compromise between options 1 and 2 above.  New construction on the south side could take advantage of passive solar heating.

The potential to build the whole 20 unit project by combining renovations and additions to Shalom House and leaving Phoenix Place alone would be difficult with the setback requirement from the east side of the property as well as from Phoenix Place on the west.

4. 	Adding One or Two Floors to Phoenix Place

Given the “neighbourhood” designation of the area in the new official plan, adding to the height of Phoenix Place was not likely to get serious consideration by City planners.

5. 	Building Along the Front Wall of Phoenix Place on King Street

The existing building presents mainly a brick and concrete face to the street.

Advantages:

- Building here would be in keeping with the principles of the new Official Plan to intensify along main street corridors;

- Create a better link between the building and the street;

- Potential for neighbourhood services on the ground floor and apartments above;

- Easily integrated with the existing building;

- Could go as high as five stories, covering much of the north wall and improving the insulation of the existing building, leaving the south wall for solar applications.

Disadvantage:

- As an addition to the existing tower it would require more expensive non-combustible construction.

6.	 A “Bit of Everything”

This proposal involved aspects of several of the previous ideas, including:

- Building 2 to 3 new stories on the north (King Street) side of Phoenix Place, extended eastwards but not connecting to Shalom House;

- Renovating Shalom House;

- A walkway running between the new construction and Shalom House, possibly with a covered archway leading into a courtyard between Phoenix Place and Shalom House;

- South end of the site for some combination of parking and green space.

Some participants commented this might be the most expensive alternative discussed so far.

7.	Wrapping the North and Northwest Sides of Phoenix Place

A further development of the sixth idea:

- Extending new construction on the north side of Phoenix Place down Dunn Avenue as a glazed element;

- Would provide protection for the existing stained glass windows on the west side of the sanctuary while still allowing light in;

- Provide a welcoming, light-filled entrance to the church hall below;

- Possible use as a greenhouse;

- Expanding the current, very tight lobby, which serves as a kind of meeting space for tenants, making it more welcoming.

3.1.9	Final Design Proposal

Option Seven became the favoured solution.  Part of this proposal is demonstrated in the drawing below, showing the new construction wrapping the northwest side of the Phoenix Place tower and stretching eastwards towards a renovated Shalom House.

According to project architect Steve Hilditch, this scheme would go a long way towards dealing with the problems that City planners had with previous site ideas.  New construction on the north could be a first phase, leaving the current parking and garbage pick-up in place, and resolving them in a second phase.

Architectural and Site Features of the Yellow Team Plan

The new construction out to the sidewalk is in keeping with the main street aspect of King Street and helps link the building and the community.  The ground floor of the new construction could serve as amenity space for residents, with the potential to create some non-profit social enterprises (laundry, café) that could serve both residents and the community.  The existing laundry room for Phoenix Place (on the 11th floor) would be moved down to the ground floor, and the previous laundry renovated to provide an additional bachelor apartment in the existing building.

Rough floor plans for the new construction are shown below.  The ground floor is on the right, second and third stories have identical layouts in the middle drawing, and the fourth story is on the left.

Layout of the Yellow Team’s addition to Phoenix Place

Green roofs were briefly considered for the new construction (though this idea was not well developed) and are shown in the drawing on the previous page.

For the south side of Phoenix Place, the Yellow Team recommended that a new addition be made to the ground floor as a second phase of the project.  The garbage chute could be relocated to the southwest corner of the building, and a new garbage room constructed there, reducing the need for garbage trucks to enter and turn on the property.  The east section of the building would provide secure bicycle storage for residents.

A greenhouse structure built on the second storey, extending down over the front (south side) of the new waste storage/bike parking extension was proposed and would link to new garden space south of the building, taking advantage of a composting system for organics in the new waste room below and the southern exposure. A “living machine” in the greenhouse could process grey water or even black water from the building.

On the second story and over this new addition a greenhouse would be constructed, which would visually flow into green space and gardens.  Expanding green space on the south end of the site would make it more attractive to the community, allow for gardening and food production by residents, and reduce the heat island effect of brick and asphalt.

A “solar system” of five stories of solar panels for pre-heating water for the building sits above, and above that a solar wall that could preheat air used in the central core of the building, as shown in the drawing below.

South and west features of Yellow Team design

Parking would move to the area behind Shalom House with entry from the laneway to the south of the property rather than from Dunn Ave. Permeable pavers in the parking lot provide a surface for cars, but also allow rainwater infiltration.

If necessary, PUCF should offer the City a strip of land on the south end of the property to widen the laneway so that cars could enter the parking lot from the laneway rather than from Dunn Avenue.

Green space freed up to the south of Phoenix Place should be put into gardens for residents and include infiltration swales where moisture-loving plants can grow. Plastic infiltrators below ground collect excess water and avoid stagnant pools of water where mosquitoes could breed. Berms or raised beds, particularly along the edge of the laneway, provide areas for growing produce and introduce some interest into what is now a very flat landscape.  (See site plan on the next page.)

A patio in the area to the west of Shalom House and south of the new construction on King could serve a coffee shop on the ground floor of the new construction, or could simply provide a mostly shaded outdoor space for residents of Phoenix Place on hot summer days.

Yellow Team Site Plan

Renovating Shalom House rather than knocking it down and rebuilding would keep the historical façade and keep much of the embodied energy/materials in the building.  A new extension would be built on the south end of the building, and would provide south-facing windows not in the current construction.  Eight new apartments would be constructed in Shalom House.

Energy Features of the Yellow Team Plan

The Yellow Team incorporated the following features into their plan:

- Insulating value of new construction on the northwest corner of the building

- Solar panels on the south side of Phoenix Place to preheat hot water, above the proposed greenhouse and angled at about 70(, taking an estimated third of the energy required to heat water for the building (more storage tanks would be required);

- Solar wall to preheat air for central corridors of Phoenix Place;

- Slab heating and cooling for the new construction;

- Consider combining heating systems for Phoenix Place and Shalom House.

(Note:  The Yellow Team developed more detailed recommendations for energy, mechanical and electrical systems, but the notes and charts for these went missing following the charrette and so these recommendations are not discussed here.)

Waste Management Recommendations

- Develop a collaborative waste management awareness plan, and ensure waste management specifications (estimated savings of $140,000 total);

- Recycle parking lot asphalt, electric baseboard heaters;

- Salvage from Shalom House and sell plumbing fixtures, trim, doors, windows, and fire escapes;

- Salvage and re-use wood floors in Shalom House;

- Seek donation of 21 existing kitchens from recent Regent Park renovations, now being deconstructed;

- Minimize material waste through optimum value engineering;

- Choose durable materials for avoided maintenance and replacement.

Brad Peterson Presents the Yellow Team’s Site Plan

3.2 	Blue Team

3.2.1	Approach to the Integrated Design Process

After introductions, the Blue Team outlined a range of issues that they wished to discuss and develop in the two days that they would spend together.  These included:

- Community

- Site design issues

- Structure/envelope

- Energy/mechanical systems

- Indoor environment

- Lighting and utilities

- Water management

- Materials and resources

- Construction and commissioning

- Information for tenants

- Main elements in Blue Team final presentation

The team agreed to the following goals for the project:

- Plan for 20+ new units;

- Create a green building showcase;

- Develop realistic green options/technologies;

- Develop an accessible design that is inclusive and integrative to occupants and their requests/needs.

The Blue Team utilized the LEED checklists more than the other groups to guide their discussions, which is reflected in the organization of the report below.

### 3.2.2	Community Issues and Opportunities

### Overall

- Need to accommodate new housing and try to keep or create community space for existing programs;

- Housing a priority for the church board and congregation though they would like sanctuary to be more recognized and accessible to community.

- Use space between Shalom and Phoenix Place tower to link building mechanicals and provide commercial space – possible way to get around issue of commercial zoning? (eg. food produced organically on site could act as demonstration project to teach others, and distributed through on-site food bank office);

- Alternatively, use linked space as a common area that is shared with laundry facilities for all buildings;

- Relocation of garbage to curb at King St.;

- Reconfiguring drive-through on Dunn (with green space as island) so city truck doesn’t have to turn around in parking lot – garbage chute redirected and small sorting room added to existing garbage room where bins could be stored and rolled out on pickup day(s);

- Drive in to parking area using existing lane (widened by 3-4 feet with city approval);

- Make parking (which accounts for 1/3 total site space) double as community space by using permeable materials that can be designated in different ways according to required use (ie. demarcations are not permanent);

- Capture rain water from rooftops, slow down and flow through limestone filtration (to level ph of acid rain) and collect in a cistern, to be used to irrigate green spaces on site and possibly for toilets (depending on infrastructure changes for intake);

- Landscaping opportunities exist in web of spaces between buildings on site, on rooftops, and south and west walls (i.e. suspended wires for vertical systems) that can capture rain and sun, provide shade and offer opportunity for food production, sanctuary and interactive common areas as well as provide soft green areas that would be more aesthetically pleasing to neighbourhood.

### Phoenix Place

- Occupants like to participate in the running and management of building (for example, they are responsive to recycling where opportunity exists). So an enhanced recycling program provides a potential programming opportunity;

- Besides relocating the garbage, it was considered important to create/provide a space for sorting recyclables as well as green bin/compost drying/sorting;

- Occupants would enjoy shared spaces where there are activities to do chores such as laundry – current laundry is on the 11th floor and is at capacity (4 pairs of appliances);

- Laundry space relocated would free up additional bachelor unit on 11th floor and provide room for additional appliances for new units;

- Occupants have expressed an interest in common workshop area and assistance in ‘handy work’ in their apartments such as affixing shelves, adjusting cabinetry etc. A program to teach handy work could involve occupants and community members, and may be able to provide a service both internally and externally to support the purchase/upkeep of tools etc.

### Shalom House

- Replace back addition and add 3rd floor, retrofit to create larger residential units;

- Maximize lot limits that already exist for Shalom House and add new construction along King. St. with the visual character of Shalom House, in order to integrate new and existing styles harmoniously;

- Initially a one-story atrium that could have units added above over time as funding appeared.

### New construction

- Design for universality to make entrances accessible (at grade) to residents and visitors, e.g. addition on south and possible west sides of tower with accessible units on ground level;

- Use new construction as a way to insulate first 4 floors of tower;

- Existing units that meet addition could be made larger or have view/access to terraced green roof.

3.2.3	Site Design Issues

### Overall

- Hybrid heating system of solar and geothermal with hydronic distribution – Shalom set up with existing hot water radiators, tower would need to be outfitted with hydronic distribution system with boilers kept in basement;

- Due south wall ideal for solar collectors for hot water makeup and cooling/insulating walls;

- Clad west wall to protect from winter wind and add living wall and solar collectors;

- Possibility of geo-thermal wells in spaces between and under linked spaces between buildings (vertical, possible open loop to aquifers) – approx. 13 wells needed to provide energy to hybrid system – approx. 2 weeks of drilling at 8 hours/day.

### Existing building

- Combination of solar collectors and horizontal vine system/green roof on the roof (serving both to cool and retain stormwater).

### Shalom House

- Current rear addition replaced with addition that has terraced green roofs/balconies to create different topography and privacy from parking/common outdoor space;

- Retrofit includes 3rd floor allowing for 8 new 1 bedroom units;

- Current walls are double brick without insulation – any new construction wrapped around building would add to R value;

- Large decorative windows are currently single pane but could be incorporated for decor into retrofit with double glazed windows.

### New Construction – Phoenix Place

- Green roof on new four-story structure (with combination of bachelor and one-bedroom units where addition meets existing units) at south end of tower; Second phase could continue to wrap around west side of building with terraced green roof.

- Skylights added on sanctuary roof for more natural light.

3.2.4  	Structural/Envelope

##### Overall

- Currently the tower is insulated with polystyrene between 2 concrete walls;

- To avoid flywheel effect (where walls are too thick, heat doesn’t have time to penetrate and retreats to exterior of the wall), walls need to be insulated without being too thick;

- Depending on roof load (22lb/sq foot dead load – 60lb/sq ft considered best option) of tower and new construction, apply thermal green roof (to be thermal soil has to be 6 inches deep).

##### Phoenix Place Tower

- “Smart Mass” insulation on west and south faces where solar collectors or addition do not protect existing tower walls;

- Reduce west wall heat gain by shading windows with solar screen material;

- For south wall alternate between solar collectors (attached 4 inches from wall provides space for some insulation) and hang cables from roof for vertical vine system for cooling in summer.

##### Shalom House

- Terracing on back deck areas for privacy and separation from parking/community outdoor space, green house and overlook from neighbouring buildings;

- Green roof possible up to slope of roof of 40 degrees.

##### New Construction

- LEED insulation value at R30 minimum for walls and double glazed fiberglass frame windows

3.2.5	Energy/Mechanical Systems

##### Overall

- If goal is to provide higher level of care, then backup or assured power system needs to be incorporated (ie. Possibly duel fuel version – natural gas with diesel, or fuel cell in future);

- Flow through capital cost allowance (to non-profit) – half of the cost can be tax deductible in 1st year;

- Canadian geo-exchange provides funding for geo-thermal to lease equipment over amortized period with a charge of a flat rate fee for utility cost;

- South wall with hybrid system – solar could provide 27% of water heating for whole site, with approximately $20,000 in gas savings/year;*

- * Please see Blue Team charts as experts also provided approximate cost estimates and secured some more specific modeling of possible energy savings.

##### Tower

- Air from bathroom vents redirected into ducts in central corridor and connected to central HRV (roof mounted for 60% efficiency minimum);

- Hot water recovered from drains in new plumbing (GFX systems) between units;

- Annual storage system in basement.

##### Shalom

- Radiators in Shalom house incorporated into larger shared hydronic system with floor heating over cold space(s);

##### New Construction

- Connect one system to all buildings, centralized in basement of new construction;

- Existing boilers are operating at approximately 50-60% efficiency; could be upgraded to 80-90% efficiency – booster may be needed if all buildings connected.

3.2.6	Indoor Environment

##### Overall

- Noise issues for occupants during new construction considered (drilling of wells for geothermal would take approximately 2 weeks at 8 hours/day);

- Solar collectors/awning would require patience re: privacy during installation process;

- Construction of addition on south (and perhaps west) side of tower would require temporary relocation of 2nd, 3rd and 4th floor tenants while units were integrated into addition.

##### Tower

- HRV system on each floor with rough filter and extended surface or pleated filter needed – has space implications if in each unit and cost of venting to hallways with roof for central HRV to be determined;

- Approximate savings on heat recovered - $ 2,000/year in gas*

- * See numbers modeled for Blue team for exact figures

##### Shalom

- Atrium/Greenhouse link space to promote gathering space with green, light and activity (as well as humidity if water feature included)

- Atrium would also slow down or block wind that currently prevents use of space between buildings.

New Construction

- Low sound exhaust fans for bathrooms to be used (.5 or lower is best).

3.2.7	Lighting and Utilities

##### Overall

- T12 currently supplied in kitchens, CFLs in suites (when occupants ask for a change), bathrooms currently have 1-2 incandescent bulbs, exit lights are LEDs, hallways and common spaces fluorescent, parking high sodium, sanctuary has halogen to light up windows;

- Most units have bar fridges 4.5 – 9 cubic fee (312 Energuide rating);

- Upgrade T12 to T5s

- Wait 2-3 years to replace all incandescent with LEDs (once price goes down and instead of making 8 year commitment to CFLs);

- Use LED strip lights for sanctuary or point lights upward (reduces glare and events light distribution);

- Laundry machines could be timed for different rates at different times in the day/evening;

- Use stacked washer/dryers to gain floor space;

- For emergency lighting –European-style laser light for universal access;

- Consider LEDs for all exterior lighting.

##### Tower and Shalom House

- North stairs - put in occupancy sensor.

##### New Construction

- Transfer heat recovered from laundry to atrium/green house common area;

- GFX system to recover hot water from drains (3-4 year return) in wall between suites;

- Change elevator to Eco Elevator – self-propelled “box” (i.e. Traction unit with wheels instead of large motor).

3.2.8 	Water Management

##### Overall

- City of Toronto is hosting a symposium on storm water harvesting May 24th, 2005 at Metro Hall and would consider funding a water harvesting applied design concept to showcase at symposium;

- Recovery of water from all roofs and permeable parking/paving requires filtration (limestone for PH neutrality of acid rain and separation of oil from parking areas + treatment);

- Cistern storage between buildings of water that can be reused. Delayed run-off from green roofs could be collected and used in toilets (would require new isolated toilet feeds)

- Solar collectors would be best utilized to collect thermal energy to boost hot water production and save on energy costs*

- * Please see modeling requested by Blue team for more precise estimates

##### Tower

- Low flow toilets and aerated shower heads installed in 2001.

##### Shalom

- Low flow toilets and aerated shower heads to be incorporated into new units in Shalom House.

##### New Construction

- Compost toilets or waterless urinals for new units.

3.2.9 	Materials and Resources

##### Overall

- Use more durable materials in new construction and modular design in units so they may be made larger or smaller over time to accommodate changing needs of occupants with minimal waste and demolition costs;

- Provide sorting areas in each kitchen unit to make different recycling and green bin collection more convenient;

- Vermiculture for management office paper waste;

- Use of Dow corn husk walls where replacing/installing drywall;

- Incorporate City diversion goal for 2010 into a waste management plan as a ‘bargaining chip” for city approval of Green Phoenix;

- LEED points for using materials that are from within 50 miles or 1500 miles by rail or sea.

##### Tower

- Given possible expense of insulating tower from the outside – it may be economical to wait 5 years for a better and more accessible technology (easily investment return of 20 years);

- Evacuated panels also considered if cost decreases;

- Using 2nd hand radiators was considered although warranty by trades might be less ( 1-2 years instead of 10 years with new radiators) if converting tower to unified hydronic system.

##### Shalom

- Retrofit of Shalom house seen as way of minimizing waste and impact on community;

- Consider used kitchen kits for new units.

##### New Construction

- Utilize LEED and R2000 guidelines as best strategy for acquiring funding (and not reinventing the wheel);

- Workshop space and shared tools may address occupant requirements that are beyond management capacity to meet (eg. Modifying/repairing of furniture that is made available for free to occupants).

3.2.10 	Construction and Commissioning

##### Overall

- LEED requires durability credit and Commissioning Officer – if included from the beginning 2 credits are available;

- Non-profits have generally neglected commissioning;

- Education and training necessary for board and managers;

- NRCan funds available to train management on R2000 program

- Green Manager’s Association, Canada Green Building Council (LEED in Canada) BOMA, Green Globes Certification, Better Buildings Partnership as champions of project to raise awareness and prestige of design that could garner support with planning/zoning department approvals;

- Cleaning and maintenance using Energy Star, EcoLogo, Energuide and Green Seal products;

- Pursue feature on “Structures” program for favourable showcase to community and city departments;

- Single greatest success factor – site foreman – good reference, LEED certified, construction manager ideal;

- CBIP, FCM and SCPI funding available as well as Social Housing Service Corp. Grants and CMHC RAP funds.

3.2.11 	Info to Tenants

- Ground rules on recycling communicated by management with assistance of volunteers in affinity groups;

- Possible training from paid coordinator to set up social marketing programs such as “how to compost”, “how to grow food organically” etc.;

- Minimize disturbance to occupants during construction and communicate forecast impacts during construction and changes to prepare occupants adequately;

- Hold meeting to evaluate plans and changes with all occupants;

- See Doug Mackenzie Moore for approaches to communications strategies in affecting behaviour (eg. Social marketing) if recycling or composting is problematic in initial stage of implementation.

3.2.12 	Main Elements in Blue Team Final Presentation

- 9 new units (1 and 2 bedrooms) in Shalom house with 3rd floor and terraced garden decks;

- Laundry in atrium/green house that links Shalom house and Tower;

- Hybrid (solar and geothermal) hydronic system connecting Shalom House, Tower and new 4 story addition on south side of tower (west side 4 story addition could be added in Phase II, front addition along King St. could be Phase III);

- 4 story addition (12 bachelor units, including 3 accessible 1 bedrooms) on south side of tower that would improve insulation and could be added onto later;

- Solar collectors on South and West walls to supply 60% hot water approx. installation cost 400k;

- Geothermal drilling of 130 wells (40% energy supply to all buildings) approx. $150 – 200k;

- Parking accessed through lane with permeable paving with ability to re-designate parking spaces according to need;

- Earth tub composting and sorting room added that could also store garbage bins for easy rollout on pickup days;

- Re-routed garbage pick up at King St. curb;

- Green roofs on tower, new addition and terraced balconies on new addition on Shalom House;

- Green roof and sky lights on sanctuary roof;

- Iron obelisk or church tower covered in vines at King St. curb in harmony with iron gate and path to bring further attention to sanctuary and housing ministry to community.

- South wall to be shared by solar collectors and vertical living wall (will cool in summer and add some insulation in winter).

- Solar screens on west facing wall to shade units in summer.

Kaaren Pearce presents the Blue Team’s landscape plan

Blue Team site plan

Blue Team atrium plan

Blue Team drawing of Phoenix Place additions

Blue Team floor plan/tower addition

3.3	Red Team

3.3.1	Vision: Issues and Ideas

- Shalom House would be hard to convert to apartments and renovating it would be expensive – the projected budget of $2.4 million won’t go far – may be better to sell Shalom House and use income on the rest of the project;

- It would be better to sell or raze Shalom House, which costs a large amount to maintain, and is a money sink for the Foundation;

- Energy costs of the existing structures are a big drain -- $7000 gas bill annually;

- The north side of Phoenix place is a dead component of the street front;

- Needs commercial to keep street alive;

- Would be easier and more energy-efficient to renovate the Phoenix Place tower than Shalom House.  It has elevators, waste management structures and program, and laundry facilities;

- The south wall of Phoenix Place is full of potential:

  - Could put an addition for the full height of the building, adding 20 units (2 on each of 10 floors);

  - Good potential for solar;

  - Possible greenhouse, terraces or other amenity spaces;

- Desire to make this project a successful living and active example, need to be thinking about design plus a program (not a museum of green technologies);

- There should be green programs in the building for the community;

- Design building with green economic development in mind – e.g. grow/sell organic food, produce energy to sell to the community, raise seedlings, run a green laundromat; These programs could build on existing structures in the community (e.g. Green Thumb Enterprises);

- The building/programs/businesses can become a catalyst to “green” the larger community

- Benefits for Phoenix residents – conviviality, common/social spaces, secure, functional, place to meet neighbours, opportunity for people to define social life – help people to adapt – have people able to look in on others.

3.3.3 	Problems the Project Must Address

- Garbage collection, with trucks traversing the full south side of the building;

- Ventilation problems;

- Overheating in summer, especially on the west side of the building – some residents leave their units to sleep in park;

- High water table – Phoenix Place runs sumps;

- Much of the open space is an asphalted parking lot.

3.3.4 	Developing Ideas

- Adding to south face – minimizes amount spent on foundation as opposed to renovating Shalom House and/or building vertically along King;

- South face addition can accommodate 20 new units, add amenities, generate heat, enliven the south façade, generate electricity;

- Outsulation on rest of bldg, increase R-value of envelope (watch for moisture problems);

- Move garbage room to south-west corner of highrise;

- Solariums important for isolated residents;

- Need to take into account that oil production has peaked, and that oil prices will rise dramatically in the future – need to get off fossil fuels;

- Make use of passive solar orientation and thermal mass;

- Incorporate heat recovery from ventilation system and grey water;

- Current system of electrical baseboard heaters in each unit a problem;

- Being too green can saddle the building with mechanical and electrical problems because leading edge suppliers may disappear;

- Technology should be as passive, proven and dumb as possible;

- Do it once – insulate heavily so it doesn’t have to be done again and requires  minimal maintenance.

3.3.5 	Heating/Cooling/Energy Options

- Boilers were replaced 4 or 5 years ago and are reasonably efficient;

- Geothermal is costly but would reduce energy load;

  - Sandy, permeable soil makes geothermal very efficient;

  - Two options:  Glycol system loop with exchange or closed loop mixture of water and ethylene;

  - Can draw heat from the ground in winter and dump it in the ground in summer for cooling purposes;

  - Low maintenance;

- Photovoltaics would require a long payback, currently approximately 60 years;

- Solar hot water would give an approximate 10 - 15 year payback; the whole southern face could be fitted with solar collectors to preheat domestic hot water;

- Heat new construction hydronically;

- Cooling air-based – how to distribute cooling? Via corridors?

- Embedded system is low maintenance and cleanest, and provides consistent room temperature and comfort, however, humidification becomes an issue;

- Selective low-e coating on new windows allows light, knocks out infra-red but loses gain in winter;

- Solar shading blocks high summer sun, allows low winter sun in for heat and bounce light into unit;

- Green wall strategies on the west side could include vines for summer shading.

3.3.6	Ventilation Options

- Shaft up the outside with mechanical plant on roof; at top of each shaft coil glycol solution and air-to-air exchange;

- Either HRV’s or Central Air Supply – could do heat recovery and air filtration;

- Supply and Return – could supply heat and air conditioning;

- Mechanicals on exterior under outsulation – “varicose veins for the building”;

- Glass curtain wall with 6” vent space.

3.3.7 	Envelope Options

- Complete glazing retrofit of building;

- Should do window shading on the west side, but may not work in cost-benefit terms;

- Re-glazing and outsulation for tighter envelope;

- Windows and outsulation not much cheaper than curtain wall?

- Dominant heat loss through slab edges on existing building;

- Energy Model shows: $5000 - $6000 savings/year for double glazed low-e windows;

- Curtain wall costs $50/ ft2

- Outsulation costs $8/ft2

3.3.8	Waste Management Options

- Turtle Island pick-up of compost – alternatives?

- Take garbage to curb – only two hours per week at curb;

- Garbage storage and pick-up has to move to southwest corner of Phoenix Place;

- Could install a tri-sorter and roll carts out on garbage pickup days;

- There should be on-site composting to support the garden, and worm composting in the basement.

3.3.9	 Funding

- Why not have more units? Build more in a 2nd phase;

- SHSC [Social Housing Service Corporation] will put 80% into pilot – not  unreasonable to push for 50 new units;

- Manage reserve funds for Social Housing;

- Affordable Housing programs. Federal and Municipal money available to make units happen

3.3.10 Proposed Scheme

Site

- Relocate community allotment gardens to behind Phoenix Place;

- Parking lot moves to south-east corner;

- Parking access from lane - widen laneway with strip from green space ;

- Grasspave units for storm water management on parking lot;

- Garbage trucks collect at expanded roundabout;

- Dunn façade at grade – terrace to basement community space and make it welcoming to neighbourhood – visual connection to programs taking place;

- Improve King/Dunn corner entrance and lobby space;

- Enliven street with Community Economic Development businesses facing King;

- Create place for people to sit outside – marktet/chessboards/parkette on King;

- Huge need for coffee place – nothing for blocks on King. Café could be staffed by tenants and would help integrate the building with community;

- Solar laundry for residents and community could be a showcase and a moneymaker;

- North wall – cable off of elevator shaft and plant Virginia Creeper to cover the façade;

Red Team site plan

Phoenix Place (Phase One)

- South addition to tower – 2 bachelor units per floor or a variety of 1, 2 and 3 bedroom units floors 2-11;

- Ground floor greenhouse;

- Move offices to second floor;

- Reconfigure ground floor office space (east side of tower) into barrier-free units;

- Improve access to community space on Dunn (Terrace);

- Expand entrance/lobby on north-west corner;

- Chapel entrance remains with better street presence ;

- Waste handling moved to south-west corner;

- Gardening/bicycle utility room on south-east corner;

Red Team layout options for Phoenix Place Phase One addition

Shalom House (Phase Two)

- Demolish Shalom House – replace with four-story mixed use residential/retail;

- Ground floor – retail;

- 2nd – residential four two-bedrooms;

- 3rd – residential four two-bedrooms;

- 4th – residential four two-bedrooms;

- Connected to Phoenix Place for circulation, elevator and mechanical.

Water

- Intensive plus extensive green roofs;

- Intensive: stronger aesthetic and can be used for food production; requires deeper and access to the roof; creates significant dead load on roof as well as live load of people;

- Water collected from roof for zero-net run-off goal – should drain to tank below;

- Holding chamber to infiltration trench to organic garden for irrigation;

- Greenhouse on ground floor under addition;

- Gravel parking surface.

Energy

- Hybrid System serving all buildings;

- Geothermal would provide primary energy source for HVAC system;

- Use existing boilers – boiler does peak-shaving of geothermal

- On south side use solar to heat water – solar vacuum tube hot water plant;

- Incoming water to solar, then boiler, then to storage;

- Insulating [cladding] building reduces load;

- Awnings for south shading control are solar collectors;

- Grey water heat recovery;

- Solar wall on south face heats make-up air.

Red Team view of from northwest angle, showing Phase One (right)

and Phase Two(left) additions

| Red Team - 2nd floor | Red Team – 3rd / 4th floor |
| --- | --- |
| Red Team – 5th – 10th floor | Red Team - mechanical |

# Footnotes

A list of these representatives is provided in Appendix A.